# Growth Curve Analysis Tool

- Introduction

GCAT is a web based tool for summarizing microbial growth curves using mathematical modeling. The user interface requires no programming and calls on an R package of the same name which processes input data files, models the curves, calculates important growth parameters from the fits, and returns both graphical and tabular output.

- Testing Scope

  - The Entire Work Flow

- Single plate (Create a single plate assay with default settings)

  - Sigmoid curve

  - Loess (with default of 0.1)

- Multiple plate (Create a multiple plate assay with default settings)

  - Sigmoid curve

  - Loess (with default smoothing parameter of 0.1 and with 0.5)

  - Efficacy of model formulas

- Verify that fitting is successful in all wells that have growth

  - Single plate default example: all non-empty wells should be successfully fit.  F06 and F11 also have growth and should be successfully fit, even though they were supposed to be empty.

  - Multiple plate default example: all wells should be successfully fit

- Cursory inspection of plots to see that “reasonable” sigmoid curves are fit by the model. Please direct questionable fit failures to Yury.

- When a model fits the data successfully, the model should be “reasonably” close to the numbered data points on the plots. Use your best judgment here. The model should have a similar shape as well. Direct questionable fits to Yury.

  - Browser and Operating System Compatibility

- The client side common browsers such as Firefox, Chrome, Safari and IE

- The results can be download and the files can be unzipped on all applicable OS

- The output zip file should contain 3 heat map PDF files for each plate.

- And make sure the heatmap color ranges correspond to the output spreadsheet values for each well.

  - Data Validation

- Any invalid data input should be rejected

- These error messages should look nice, e.g. no rails code error messages.

  - The User Interface

- Layout

- Tooltip Text

- Testing Details & Tasks

  - For both Single Plate and Multi Plate Workflows

- Upload Input Data File (CSV format)

- If an Excel file is uploaded, a “nice” error should be displayed to user.

- List of invalid test files:

  - 133 Well H1-H3 M200.csv: Unrecognized encoding.

  - 133 Well H1-H3 M200 UTF-8 fixed.csv: Fixed encoding but the number of columns is not correct. (Have temperature column)

  - 133 Well H1-H3 M200 UTF-8 fixed noT.csv: Fixed encoding and wrong number of columns, but have missing data point at well A6 time point 14.

- All valid .csv should be able to be created.

- Set up analysis parameters

- OD Transform

- Test log(x+)

- Using the Single-Plate Example File

- For OD transform set the radio button to log(x+).

- Enter the number 0.1 in the text box below.

- Create Assay.

- Diff the output_gcat.fit output file generated by the test against default output file.

- Should diff clean (if you cannot diff the files just visually inspect outputs)

- Inoculation time point

- Test inoculation parameter

- Using the Single-Plate Example File

- Enter the number 3 in the inoculation timepoint text box

- Create Assay

- Growth threshold

- Bad parameter test

- Using the Single-Plate Example File

- Set the growth rate to the value of 1.37 (for example)

- Create Assay

- The effect of this should be to exclude all well-fits except well #63 (G8)

- Verify that the desired result occurs, or at least that wells with Max. Values < 1.37 get skipped

  - Points to ignore

- Validate that numbers entered into the Points to ignore textbox appear greyed out rather than black.

- Ensure that invalid input is rejected gracefully. This includes:

- Negative values

- Non numeric strings

- Values > total number of points analyzed

  - Timestamp format

- Timestamp field should not appear as an option when single-plate option is selected

- When multi-plate option is selected, verify that that the list of timestamp format options includes the format for all test files used.

  - Output table

- Should contain all column that Results Data Table in Results Page

- Retest Trac ticket #1200

  - Browser and Operating System Compatibility

- Firefox 32.0.1 on Windows 7

- Google Chrome Version 37.0.2062.120 m on Windows 7

- IE 10 on Windows 7

- Firefox 32.0.1 on OS X 10.9.4

- Google Chrome Version 37.0.2062.122 on OS X 10.9.4

- Safari 7.0.6 on OS X 10.9.4

  - User Form

- Check layout

- Check Tooltip Text

- Check Mouse Click

- Check Email sending

- Send an email to the link provide at the bottom of the main page.

  - Ask Nate (or current GCAT project member) if he/she received the email

- Check Links(user manual etc)

- Download all example files and the instruction guide. Verify that they can be accessed.

- Retest Trac ticket #1364

  - Results Page (When Loess not selected)

- Clicking plate in results page downloads zip file

- Numeric values in table are should either be two significant digits or in scientific notation (e.g. nothing like 9.0000000000000000000000000087 or 8.333333)

- Results Data Table shouldn’t overflow black border on page (see gcat3 for example)

- If Model is listed as “Richards”, there should be a numeric value in the shape.par and shape.par.SE columns.

- lag time, spec growth, lower asymptote, upper asymptote, and shape (if Richards) values should all have a corresponding SE (standard error) value in the table

- Clicking numbered links in the row column should open the corresponding plot in a tab in your browser

- RSS column should exist and have a numeric value for all fitted well rows

  - Using Loess

- Loess uses a different R function/ algorithm to model the data. It has an optional smoothing parameter that can be used. Some distinctions:

  - No parameter estimates are returned internally, therefore there will be no SE values in the table.

  - The plots should only list the smoothing parameter rather than lag time, spec growth,etc.

- Test several smoothing parameter values between 0 and 1.  Smaller values should result in a more “jagged” model (play around with it to get a feel for what I mean). Conversely larger values will result in smoother curves at the expense of greater residuals. Test that changing the smoothing parameter has this effect

- Testing Schedule

Time period:  3-4 days

| Starting Date | Complete Date | Objectives |
| --- | --- | --- |

# Deliverables

| Deliverable | Responsibility | Completion Date |
| --- | --- | --- |